## Slide 1: ENERGY STAR
Prepared by Tovia Bat-Leah for QE calibration meeting 01/12/11

## Slide 2: Energy Star EPA web site

## Slide 5: Conditions and Criteria for Recognition of Laboratories for the ENERGY STAR® Program
General Requirements:
1) Maintain accreditation to ISO/IEC 17025, “General requirements for the competence of testing and calibration laboratories,” by an EPA-recognized Accreditation Body (AB).

## Slide 6: Conditions and Criteria for Recognition of Laboratories for the ENERGY STAR® Program
Inter-laboratory Comparison Testing:
1) Agree to participate in relevant and available inter-laboratory comparison testing (ILC) when EPA/DOE deems it necessary.
2) Carry out ILC in accordance with normal testing/calibration and reporting procedures, unless otherwise specified in the instructions from the proficiency test provider

## Slide 7: Conditions and Criteria for Recognition of Laboratories for the ENERGY STAR® Program
Reporting:
1) Submit to EPA a digital copy of the accreditation certificate and scope of accreditation. This shall include at a minimum:
  Accreditation effective date;
  Accreditation expiration date (if applicable); and,
  ENERGY STAR-relevant accredited test methods.

## Slide 8: Conditions and Criteria for Recognition of Laboratories for the ENERGY STAR® Program
2) Authorize the laboratory’s AB to share with EPA copies of assessment documentation related to ENERGY STAR testing, including corrective action plans and deficiency resolutions.

## Slide 9: Conditions and Criteria for Recognition of Laboratories for the ENERGY STAR® Program
3) Report to both EPA and the laboratory’s AB within 30 days of any major changes that affect the laboratory’s:
  Legal, commercial, organizational, or ownership status;
  Organization and management, e.g., key managerial staff;
  Policies or procedures, where appropriate;
  Location;
  Personnel, facilities, working environment or other resources, where significant; and,
  Other such matters that may affect the laboratory's capability, scope of recognized activities, or compliance with the ENERGY STAR requirements and relevant technical documents.

## Slide 10: Conditions and Criteria for Recognition of Laboratories for the ENERGY STAR® Program
4) Forward any questions related to ENERGY STAR test methods to EPA for resolution, and abide by the decisions of EPA relative to the resolution of those questions

## Slide 11
END