## Slide 1: Audit Preparedness
A Guide for Survival
Rev 8.0
For questions or comments on this presentation please contact Kai Huang

## Slide 2: Agenda
  Purpose
  Introduction
  Auditor Conduct
  Auditee Conduct
  What Happens After an Audit
  The Role of the Audit Escort
Rev 8.0

## Slide 3: Purpose
Preparation for audits
Rev 8.0

## Slide 4
Introduction
What is an Audit
Why we Audit
Need for Audits
Types of Audits
What we are Audited Against
Rev 8.0

## Slide 5: An Audit is…
Checking procedure against practice (“…say you what do”)
Checking practice against procedure (“…do what you say”)
Checking records against procedure (“…prove it”)
Checking to see if the practice is effective
An OPEN BOOK “test” of the system
Rev 8.0

## Slide 6: Audits are…
A sampling of a process or activity at a point in time.
  Different specifics may be evaluated since parts of UL will have different activities
    Few or many requirements could apply to any one system assessed
An assessment of a system (and processes of the system) to determine if it is conforming to applicable requirements (standards and procedures)
An assessment of system effectiveness and continuous improvement
Rev 8.0
Notes: Explain that a system is an interrelated set of processes that transform inputs to outputs using people and resources. Explain the role of procedures, equipment, tools and measurements in a system. Use examples of common systems such as document control and / or qualification of personnel to illustrate your point.
If a different auditor completed an audit with the same scope a month later different processes/activities would be assessed since the same ones may not be taking place

## Slide 7: Audits are not…
An evaluation of any one person, or one person’s job performance, they are an assessment of the system at a point in time
An activity to find and place blame
An exercise to search for something wrong with the system
Rev 8.0

## Slide 8: Audits Required by..
International standards such as:
  ISO 17025 (standard UL laboratory operations are assessed against)
  ISO 17065 (standard product certification is assessed against)
Our accreditation body and regulation body
Our internal management systems
Rev 8.0

## Slide 9: Need for Audits
Audits help to verify that we are meeting our accreditor, customer and business requirements
Audits also can help us determine if we are doing the things to meet our Quality Policy and Mission
Rev 8.0

## Slide 10: Types of Audits
Internal audits
  Completed by UL employees for UL employees
  Internal audits are not accreditation audits although they help UL prepare for them
External audits
  Completed by external personnel such as accreditors (OSHA, ANAB, Verizon)
Rev 8.0

## Slide 11: Types of Audits
 | Internal Audit | Accreditation Audit
Conducted by | UL Internal Auditors | Accreditation Body such as OSHA, ANAB , SCC
Impact of findings | creation of internal corrective action to improve system | Potential loss or suspension of accreditation
Rev 8.0
Notes: Accreditation Audit: an examination by an accreditation body assessing the competence of a conformity assessment body or laboratory, based on a specific standard and a defined scope of accreditation.
Internal Quality Audit: A systematic and independent examination for determining whether activities and related results comply with planned arrangements, and whether these arrangements are implemented effectively and are suitable to achieve objectives.

## Slide 12
Auditor Conduct
What an Auditor Looks for
How an Auditor Obtains Info
Rev 8.0

## Slide 13: Basic Audit Process
A part of UL is selected for an assessment (audit) against stated requirements (criteria)
  Stated requirements can be from ISO 17025, 17065, Policies and Procedures
The auditee will be informed of what will be audited (scope) and how the audit will be performed in a audit plan
A report will be prepared outlining the results of the audit
Rev 8.0
Notes: Basic process: The audit plan usually is a written document sent to the auditee prior to the audit and usually will describe the:
  Scope (boundaries) of the audit
  Date and times of audit
  Need for an opening and closing meeting
  Audit report preparation and dissemination
  Timeline and process for responding to information coming out of the audit
A little more about the basic process related to the audit plan…
  Audits are completed according to the audit plan for consistency
  Audits are also performed in the context of the system operating so auditors are aware of (and want to see) the need for normal business operations and demands

## Slide 14: Audits Conducted by….
Observing activities
Interviewing employees
Reviewing records
Looking at the documented procedures and requirements
Taking lots of notes (about the system; not about specific people)
Rev 8.0

## Slide 15: Audit by Observation
You can learn a lot just by looking around...
  What sort of documents are posted? Should they be controlled?
  Are people looking at procedures, temporary instructions, drawings, visual standards, work orders, etc.....?
  Are calibration tags on equipment?
  If an alarm goes off, does anyone react?
  Are people doing things that seem wasteful?
  Is area housekeeping up to standards?
  Are the records filed neatly?
Rev 8.0

## Slide 16: Audit by Interviewing
All auditors will always ask “Please Show-Me”
  "How do you know what that sample is for?"
  "How did you get this sample?"
  "What are you doing to it?"
  "Why do you do it that way?"
  "Who can approve that?"
  "Where does it go next?"
  "What happens when things go wrong?"
  "How did you learn to do that?"
  "Do you keep any records of what you do?"
Rev 8.0

## Slide 17: Audit by Record Review
"Let the record show..."
The auditor uses records to see...
  Are the procedures followed all the time?
  Do trained, authorized people perform the different checks?
  Can the history of a project be followed through the records?
  Can project, process, or quality information be traced?
  Are the required people reviewing or approving changes?
  Are corrective actions responded to on-time?
  Was corrective action implementation effective?
  Is there an indication that the quality system is effective?
Rev 8.0

## Slide 18: Audit by procedure review
Auditors review procedures to verify that processes are being followed...
Requirements:
  Various written procedures and documented requirements
  Assigned responsibilities
  Trained personnel
Rev 8.0

## Slide 19
Auditee Conduct
What do you Need to do
How to Respond to Auditors
Auditee Conduct
Rev 8.0

## Slide 20: Always be Prepared
Get rid of unnecessary - uncontrolled posted documents!
  Beware of informal posted reminders
  Be sure charts and graphs are up-to-date and correct
Check things out!
  Review the documentation when the project is assigned to you
  React to changing conditions such standard revision or client requests
  Look for calibration stickers
Rev 8.0

## Slide 21: Always be Prepared
Make it EASY to do the right thing.
  Auditors look for potential shortcuts! Tools and standards should be convenient to the operator. If time pressure is obvious, there are probably gaps in the records.
Neatness counts!
  Sloppy work areas and files could indicate problems with conforming to requirements.
Rev 8.0

## Slide 22: Pre-Audit Planning
  Make sure any questions you have about the audit plan and scope are clarified
  Know the role of people on the site
  Be available and have accessibility (during the audit) to people who are important in the system being audited
  Be prepared to answer questions
    Internal - tell it like it is
    External – just answer specific question, NEVER violate the UL Standard Of Business Conduct
Rev 8.0

## Slide 23: Pre-Audit Planning
  Be prepared to locate required documents. Only use CONTROLLED documents from a CONTROLLED source! http://DCS.ul.com
    Examples:
      UL Global Quality Manual (includes Global Policy and Mission) – 00-QA-P0001
      UL Mark Certification Program -00-CB-P0860, 00-GC-P0857
      Data Recording & Reporting Procedure – 00-LO-S0829 ( internal), 00-OP-C0025 (DAP)
      Project Handling – 00-OP-S0860
      Global Testing – 00-LC-P0851
Rev 8.0

## Slide 24: Pre-Audit Planning
  Be prepared to show records (evidence of requirements being met) USE ONLY RECORDS from a CONTROLLED STORAGE LOCATION…NOT WORKING COPIES OR PRIVATE COPIES
    Examples
      ECM
      Technical Competency Database (TCD)
  Know the processes of the system being audited and its applicable requirements
    What comes in, what is done and what goes out
Rev 8.0

## Slide 25: Producing Records
If you get to select the records...
  Have good examples ready to show the auditor how the records look.
  NEVER violate the UL Standard Of Business Conduct
  Select routine examples.
A good auditor will ask for specific records.
  Get the records asked for as quickly as possible.
  Don't try to substitute records. A missing record is worse than an incomplete one.
  Don't be surprised if the auditor asks to flip through the files.
Rev 8.0

## Slide 26: Procedure Review
You are expected to :
  Find the controlled procedures and information needed to perform your job.
      Know where to find UL's released process and policy documents.
        URL to Published Documents http://dcs.ul.com
  Be prepared to discuss your job.
    Job descriptions are maintained in HR web page. myHR - Job Descriptions - All Documents (sharepoint.com)
    Know where your training records are located. See your manager for more information.
Rev 8.0

## Slide 27: Procedure Review
Be prepared to discuss your job.
  Understand how your activities link to others inside and outside your area. “…where did this come from, and where will it go next…?”
    The official organization chart for UL is via Oracle.
    Some organizations have local org charts to show the functional relationships and titles.
    For all UL employees, the employee directory is used to define reporting structures
Rev 8.0

## Slide 28: Procedure Review
Be prepared to discuss your job.
  Understand how your activities link to others inside and outside your area. “…where did this come from, and where will it go next…?”
  Know how to find out what you have been trained and qualified to do.
  Training records are stored in various system
    UL has some training content and training records in eLMS.
    UL has other training and qualification records in some SharePoint sites.
    Verify that you are listed as competent for the CCNs you work with in Technical Competency Database or competent for the tests you work with in the Training/Competency Records.
Rev 8.0

## Slide 29: During the audit …..
In general:
  Be prepared to show how you and others do your job each day – which will show…
    How requirements are carried out and how they impact your work
    How the UL Quality Policy is understood and carried out
  Ask questions if you are unsure
  Take notes so you know what was evaluated and the opportunities for improvement that can be captured
  DO NOT try to provide information about activities you do not perform or manage.
Rev 8.0

## Slide 30: When you are being interviewed
Set the stage, so you will feel relaxed and in control.
  Be relaxed, take a deep breath, SMILE!
  Say hello. Give your name, if no one has introduced you.
  Consider location. Make sure YOU can hear the questions.
  Look the auditor in the eye if on-site.
Remind yourself that you are the expert in your job – share your expertise.
.
Rev 8.0

## Slide 31: Listening Effectively
Avoid confusion - If you are uncertain...
  Paraphrase the question. "You want me to tell you how we handle samples?"
  Ask clarifying questions. "Do you want me to explain how we handle samples in the RTP Lab only or for all of Operations?"
  If you don't get it, say so! "I'm not familiar with that term, can you explain?"
  Ask the auditor to repeat the question if you are confused by it. "I'm sorry, I didn't follow the question. Could you repeat it?"
Rev 8.0

## Slide 32
Answer only the question you are asked
Simple, focused answers will simplify and speed the process
Keep answers short and relevant.
OPEN BOOK! Use your controlled procedures and documents.
Tell the truth!
If you don’t know the answer or are unsure, it’s OK to redirect to another person……..
Responding to Questions
Rev 8.0

## Slide 33: Redirecting the Auditor
How to 'pass' gracefully.
  If you don’t perform a task, don’t know the answer or are unsure , refer the auditor to the correct person/area , your supervisor or manager. Don’t try to answer for someone else.
  Explain what activities you are responsible for.
  Be honest when you don't know. "This area isn’t responsible for doing that. I don’t know who does it.“
DON'T AD-LIB ANSWERS!
Rev 8.0

## Slide 34: Negative responses – before you say no…
Be sure you understand the question. Ask for clarification.
  "I'm not sure I understand what you mean."
Redirect the auditor to the correct person/area, your supervisor or manager.
  “ That item is not part of my responsibility, need to contact my manager”
Avoid only saying "I don't know." Include responsibilities.
  "I don't know who processes the documents after I complete them. I am responsible for submitting them through the document control database, let’s contact my supervisor.”
Rev 8.0

## Slide 35: General Audit Behavior
Rev 8.0

## Slide 36: What to do if the Auditor has a finding?
Make sure you understand the problem.
Provide details so the written finding will be clear.
Take notes on possible solutions.
Don't make excuses! It implies you knew there was a problem but didn't fix it.
  If unclear as to why it's a problem, ask for the requirement that they are writing it against. A good finding will always relate to a clear requirement.
Rev 8.0

## Slide 37: Disputing findings
If you disagree with a finding, state your opinion calmly and provide the reasoning
Don't argue with the auditor!
If you still disagree, ask about the process for disputing a finding – in most cases Accreditation Services or the Quality Representative will support this discussion.
You may contact the staff in Accreditation Services for further help.
Rev 8.0

## Slide 38
After the Audit
If there are CARs
  Accreditation Services and/or the Quality Team will manage the Corrective Action Process including
  CAR owner assignment and support for an effective resolution response
Rev 8.0

## Slide 39: Audit Findings
Typical audit findings result from:
A requirement has not been addressed by the system. (No procedure or practice)
A practice has not been documented in a procedure.
Procedure and practice do not match.
There is no record to support the procedure.
Rev 8.0

## Slide 40: CAR’s and Root Cause Analysis
Once a finding is formally in the system a root cause analysis must be used to determine the “bottom line” reason why a nonconformity occurred
UL’s corrective action procedure and process can be found in DCS. 00-QA-S0006 and CAR FAQ http://corporate.ul.com/departments/snk5212/QE/FAQ.cfm
Rev 8.0

## Slide 41: The Role of the Audit Escort
What is an Audit Escort?
What is the Value of the Audit Escort?
How Should the Audit Escort Interact with the Auditee and Auditor?
Where do I Find More Information Concerning the Topics Presented Today?
Rev 8.0

## Slide 42: The Audit Escort
The Audit Escort is an Independent Observer who Acts as a “Witness and Scribe” of the Audit Proceedings
Rev 8.0

## Slide 43: Attributes of the Audit Escort
General understanding of the audit process
General understanding of UL’s quality management system and applicable ISO Standards
General understanding of UL’s safety requirements
General understanding of UL’s facility layout
Listening skills
Note taking skills
Maintains a professional image at all times
Rev 8.0

## Slide 44: Value of the Audit Escort
Prevention of misunderstanding and issue clarification through the recording of detailed notes and carefully observing the audit proceedings
  A “second set of eyes and ears” greatly benefits the auditee, as it is easy to confuse issues and information during the stress of an audit
Assistance to UL in taking corrective action, as auditor findings are sometimes incomplete or not written in “UL’s language”
  Project numbers, locations assessed, equipment IDs, etc. can be missing from auditor findings
  Findings may not reference the UL documentation violated, but may only include the appropriate ISO Standard clause that was violated
Rev 8.0

## Slide 45: Value of the Audit Escort
Assistance in finding information that is not readily accessible during the audit
  Example – The auditee is not able to locate a document in DCS. The escort may offer to contact the document control team and initiate a search for the missing document while the audit continues.
    Note that the auditor may still write the issue as a finding even if the document is later found. In this case, it is preferable to receive a finding due to document irretrievability as opposed to a missing document
Rev 8.0

## Slide 46: Value of the Audit Escort
May assist with logistical aspects of the audit
May assist with enforcement of UL safety requirements
Rev 8.0

## Slide 47: Note Taking
Detailed note taking is a key responsibility of the audit escort
All relevant information needs to be recorded.
  Think – “What information will be required to respond to and fully investigate the auditor’s concerns?”
Examples include but are not limited to:
  Project Numbers, File Numbers, CCN
  Standard Numbers
  UL Procedures Reviewed
  Equipment ID Numbers
  Locations Audited
  Personnel Interviewed
  Findings Raised by the Auditor
  Follow-up Actions Requested by the Auditor
Rev 8.0

## Slide 48: Interaction with the Auditee and Auditor
The audit escort must not interfere with the audit
  Never answer questions for the auditee
  Audit escort may assist the auditor through paraphrase or the restatement of questions when the auditee is struggling
  Audit escort may assist auditor in sample selection
  Audit escort may suggest a “time out” if auditee is going through extensive anxiety
Rev 8.0

## Slide 49: Audit Escort Assistance
Example 1 “I see that we are having trouble finding a new work sample. Would you allow me to find a sample that you could review and then determine if it meets your needs?”
Example 2 “ I see that the Lab Tech. is struggling with this standard based question. Perhaps if I rephrase the question in “UL language”, the lab Tech would better understand?”
Example 3 “ I see that the auditee is very anxious, could we please take a short break then resume the audit with this individual?”
Rev 8.0

## Slide 50: Interaction with the Auditor
Do not engage in lengthy casual conversations during the audit
  Professional image must be maintained at all times
Conversations with auditor should portray UL as an excellent place to work
  Discussion about reorganizations, less than optimal working tools, slow moving processes or any organizational barriers should NEVER be discussed
Rev 8.0

## Slide 51: Interaction with the Auditor
If the audit escort notices a noncompliance during the audit, fully record the details, but DO NOT share the noncompliance with the auditor
  UL will evaluate the issue for possible corrective action after the audit
  External audit protocol clearly establishes the external auditor as being responsible for the identification of findings - not UL
Rev 8.0

## Slide 52: Interaction with the Auditee and Auditor
Audit escort should ask the auditee if MINOR findings could be corrected before the audit is complete.
  Example - One document needs to approved in DCS; a gage needs to be removed from service; a Datasheet needs to be signed..etc........…
Let the auditor know that we are working on correcting the issue during the audit, and offer to notify the auditor when the corrective action is complete.
  This activity is not being done to “get out” of or “talk the auditor out of” writing a finding. The auditor may or may not elect to record the issue of as a finding in the audit report. UL is proactive and takes corrective action seriously, which is why we choose to quickly resolve minor issues
Rev 8.0

## Slide 53: Interaction with the Auditee and Auditor
If we are aware of the nonconformity and have already opened a CAR for the issue, offer to show the CAR to the auditor
  Sometimes an external auditor will not write a CAR if an active UL CAR is already addressing the issue
    NOTE – Before showing the CAR to an external auditor, it must be confirmed that the CAR is not in an overdue or escalated state! If the CAR is in an overdue or escalated state, please do not offer to show the CAR to the auditor.
Rev 8.0

## Slide 54: Interaction with the Auditor
Questions that are acceptable to ask the auditor
  “Are there any findings in this area?”
  “Do we have any outstanding issues that require follow-up?”
  “I did not see the procedure that you audited a moment ago. Could I please record the procedure number in my notes?”
  “Should I call the area scheduled to be audited next and let them know that we are running late?”
  “Can you please identify the violated UL procedure or ISO Standard requirement for this finding?”
Rev 8.0

## Slide 55: SUMMARY
The Audit Escort
Does Not Interfere with the Audit
Takes Detailed Notes and Carefully Witnesses Audit Proceedings
May assist the Auditor and Auditee
May Assist with Logistics
May Assist with Safety Compliance
Maintains a Professional Image at all Times
Rev 8.0

## Slide 56: WHERE DO I FIND MORE INFORMATION?
Immediate Supervisor
Local or Regional Quality Representative
Rev 8.0

## Slide 57: Revision History
Rev 8.0 D.Echols 5/7/2021:
Slide 10 and 11 change ANSI to ANAB
Slide 24 updated example of controlled record locations; removed DMS
Slide 26 updated link to Job Descriptions
Slide 28 updated the description of training records
Slide 32, added line “ it’s ok to redirect question”
Slide 33 , added supervisor or manager as contact when support is needed
Slide 34, added additional info on contacting manager
Slide 37, added “in most cases Accreditation Services or the Quality Representative will support this discussion.” to bullet 3
Slide 38, updated entire slide
Slide 49 reworded last bullet
Slide 56 update to contacts
Rev. 7 K. Huang 3/5/2018
Update the standards and document links.
Rev 6 D.Echols 4/24/12 Updates:
Slide 28- Corrected link to technical competency database
Rev 5 D.Echols 3/29/11 Updates:
Slide 5- Corrected to “say what you do”
Slide 17- updated bullets to include corrective action responses on time and effective corrective action
Rev 8.0

## Slide 58: Revision History
Rev 4.0 2/21/2010 Mark Jessen Updates:
Updated all the links
Replaced the term Ethic Code (slides 22 & 25) with UL Standard Of Business Conduct.
Removed the Job description link and noted that job descriptions are (slide 26) located in KMS.
Because of issue with presentation in new version of windows, footers cannot be changed. Use shape with color white to cover up revision 3.0 information
Updated slide 6 speaker notes to define a “system”
Updated slide 36 to link findings to requirements
Updated slide 53 to address external auditor findings when UL already has an active CAR open
Slide 16 – Remove regional reference to “Missouri”
Slide 28 Added that training records are stored in Oracle
Slide 27 – Added that organization charts can be managed locally
Rev 3.0 4/2/2008 DL Echols Updates:
1. slide 23 removed CAM reference and added UL Mark Policy
2. Slide 40 removed reference to 00-QA-S0010 and added 00-QA-S0006.
3. Slide 41 removed reference to Jim Oates CAR Owner and added Denise Echols.
Rev 2.0 10/1/2007 DLEchols updates:
1. Added examples and hyperlinks to published documents slides 22,23,24,26, 27,28, and 29.
2. slides 23 24 added statement to use controlled documents and records. Added work control to various slides to make sure controlled docs are used.
Rev 1.0 DLEchols Initial Release 5/31/2007
Rev 8.0