## Slide 1
Internal Compliance Audit – Closing Meeting
UL International GmbH – Neu Ulm

## Slide 2: Agenda:
Attendees
Audit Scope
Objectives and Focus Areas
Executive Summary
Risks and Raised Concerns
Recommended Improvement Roadmap and Next Steps
Assessment Team:
Lead Auditor: Grainne Cheevers

## Slide 3: Attendees
Opening Meeting Attendees – 18th October
Closing Meeting Attendees – 28th November
Role | Name
Marcus Corzilius | Managing Director Medical Device Testing
Sabine Mayer | Senior Quality Engineer
Beatrix Kaechele | Senior Quality Assurance Analyst
Thomas Koegel | Senior Quality Assurance Analyst
Grainne Cheevers | Lead Auditor
Role | Name
Marcus Corzilius | Managing Director Medical Device Testing
Sabine Mayer | Senior Quality Engineer
Beatrix Kaechele | Senior Quality Assurance Analyst
Grainne Cheevers | Lead Auditor

## Slide 4
Confirming activities and scope reflects on ATLAS records
Merging ICA and technical audit to cover CAB regional schedule of accreditation within accreditation cycle
Assessing implemented management system on all stages of project delivery including evaluation, testing and reporting.
Verifying conformance with Standards, Accreditation and Scheme as well as UL requirements.
Focus on expectations, issues and objectives identified by local, regional and global Leadership Team.
Provide feedback to Partners to reassure the capability, efficiency and consistency of implemented business processes.
New ICA Report - Europe
Additional ICA deliverables in Europe are:
    Maturity level,
    One UL Integration level
    Governance level
    Associated Potential Risk linked the findings,
    Voluntary Suspension of Operations
    Impartiality
    Share Knowledge and best practices for improvements.
Executive Summary
Strengths & OFIs
Findings and Associated Risks
Governance, Management System Maturity Level and One UL Integration Indicators
Audit Result
Annual Improvement Roadmap
Objectives and Focus Areas

## Slide 5: Audit Scope
The scope of the audit was:
ISO/IEC 17025:2017 testing laboratory activities under accreditation by DAKKS performed locally at UL International GmbH - Neu Ulm
Areas sampled and assessed against relevant requirements:
  Organization and Leadership; Competency management, Handling of samples, Reporting of results, Evaluation procedures, Records management, Complaints, Management System Documentation.

## Slide 6: Risks and Raised Concerns
ISO 17025:2017 | Description of Finding | Expected outcome | Risk Level | CAR #
 | None |  |  | 

## Slide 7
,
Laboratory Process Improvement and Maturity
Time
Improvement
Standard
Continuous Improvement
Consolidation through Standardization
Improve
Plan
Check
Do
Standard
I
D
C
P
5-10 Year
Vision
Step 1
Annual
Review
3-5 Year
Plan
Annual Plan
Development of
Initiatives (plan)
Progress
Control
Implementation
Step 2
Step 3
Step 4
Step 5
Step 6
Step 6
Improve
Plan
Check
Do
Laboratory services
Processes
OBJECTIVE
P1
D1
I2
C1
I1
C2
D2
P2
In
Cn
Dn
Pn
Process Maturity
Y1
Y2
Y3
Y4
Lab
Technology
P
D
C
I
P
D
C
I
CSE
P
D
C
I
CSA
P
D
C
I

## Slide 8
UL International GmbH - Neu Ulm – Laboratory Management System Maturity Level
Chart: EMC-W Lab: 2018
Chart: EMC-W Lab: 2020
10
8
6
4
Basic QMS IMPLEMENTATION
Accreditation & Scheme COMPLIANCE
BEST KNOWN METHOD
(BKM)/WORLD CLASS
CUSTOMER SATISFACTION
IMPROVEMENT
0
The assessment result of performance of implemented Quality Management System for UL Neu Ulm shows Neu-Ulm testing laboratory has a well-managed, mature system according to ISO / IEC 17025:2017.
Chart: 
| General | Structural | Resources | Process | Management system
 | 8 | 8 | 8 | 7.8636 | 8

## Slide 9
UL Neu – Ulm Integration towards One UL - Laboratory
Chart: UL Enterprise Integration Status - Neu-ULm Medical Test Lab
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Global | 0.088235 | 0.088235 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Global and local Addition | 0.35294 | 0.35294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deviation from Global Process | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Not Applicable | 0.058824 | 0.058824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Integration Status | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Although Neu-Ulm laboratory has a mature system according to ISO/IEC 17025:2017, there are areas of deviation from the requirements of UL Enterprise Testing And Calibration Laboratory Compliance Policy. There is a one-year period (beginning from the Issued Date 2022-03-17) for transition to this new enterprise policy. UL Testing Laboratories that do not currently utilize the compliance described herein will need to adopt this new policy during the one-year transition.

## Slide 10: Summary
Neu-Ulm Medical Testing Laboratory is a well-established and mature laboratory. Although a requirement of GLP, the lab continually review conduct of tests and staff. Record keeping is excellent, with staff accessing records easily and confidently.
The main area for focus is integrating with One UL business direction. Currently all documents are presented in German which is a requirement of DAKKS / GLP, however this makes it difficult for internal audit team to fully review and audit. In addition, with the requirement for all UL Laboratories to integrate and implement UL Enterprise Testing and Calibration Laboratory Compliance Policy (ISO /IEC 17025:2017), the laboratory must fully review integration level and list additions, or deviations as required.
Neu Ulm Medical Testing Laboratory is deemed to comply with the assessment requirements.
There were no non-compliances raised.
Strengths
Technical and Management System knowledge and maintenance.
Internal Technical Audit Program and oversight.
Weaknesses
Currently all documents are presented in German which is a requirement of DAKKS / GLP, however this makes it difficult for UL internal audit team to fully review and audit.

## Slide 11
Next Steps
Plan 2023 Audit
UL Enterprise Testing And Calibration Laboratory Compliance Policy. There is a one-year period (beginning from the Issued Date 2022-03-17) for transition to this new enterprise policy. UL Testing Laboratories that do not currently utilize the compliance described herein will need to adopt this new policy during the one-year transition. A more detailed Gap-Analysis together with an integration plan should be produced.
Currently all documents are presented in German which is a requirement of DAKKS / GLP, however this makes it difficult for UL internal audit team to fully review and audit.