## Slide 1
Internal Compliance Audit – Closing Meeting
UL Demko International A/S

## Slide 2: Agenda:
Audit Scope
Technical Audits in Compliance Audit Process
Objectives and Focus Areas
Executive Summary
Risks and Raised Concerns
Recommended Improvement Roadmap and Next Steps
Assessment Team:
Lead Auditor: Grainne Cheevers
Auditors: Michelle Howell
          Przemyslaw Zaleski

## Slide 3: Attendees
Opening Meeting Attendees
Flemming Hegner as Lab Leader
Peter Mortensen as Business Manager
Thomas Wilson as CAB Manager
Marijo Cosic as Technical Expert
Clause Madsen as Operations Manager
Jan-Erik Storgaard as Senior Quality Engineer
Grainne Cheevers as Lead Auditor
Michelle Howell as Auditor (2022-69-IQA)
Przemyslaw Zaleski as Auditor
Closing Meeting Attendees – 28th November
Flemming Hegner as Lab Leader
Peter Mortensen as Business Manager
Thomas Wilson as CAB Manager
Marijo Cosic as Technical Expert
Clause Madsen as Operations Manager
Jan-Erik Storgaard as Senior Quality Engineer
Grainne Cheevers as Lead Auditor
Przemyslaw Zaleski as Auditor

## Slide 4: Audit Scope
The scope of the audit was reviewing the implementation of the UL Demko International A/S
ISO/IEC 17025:2017 testing laboratory activities under accreditation by IECEE performed locally at UL International Demko A/S
IECEE CB Scheme laboratory activities under recognition no TL-005 by IECEE including:
product evaluation;
product testing.
Areas sampled and assessed against relevant requirements:
  Organization and Leadership; Competency management, Handling of samples, Reporting of results, Evaluation procedures, Records management, Complaints, Management System Documentation.

## Slide 5
Confirming activities and scope reflects on ATLAS records
Merging ICA and technical audit to cover CAB regional schedule of accreditation within accreditation cycle
Assessing implemented management system on all stages of project delivery including evaluation, testing and reporting.
Verifying conformance with Standards, Accreditation and Scheme as well as UL requirements.
Focus on expectations, issues and objectives identified by local, regional and global Leadership Team.
Provide feedback to Partners to reassure the capability, efficiency and consistency of implemented business processes.
New ICA Report - Europe
Additional ICA deliverables in Europe are:
    Maturity level,
    One UL Integration level
    Governance level
    Associated Potential Risk linked the findings,
    Voluntary Suspension of Operations
    Impartiality
    Share Knowledge and best practices for improvements.
Executive Summary
Strengths & OFIs
Findings and Associated Risks
Governance, Management System Maturity Level and One UL Integration Indicators
Audit Result
Annual Improvement Roadmap
Objectives and Focus Areas

## Slide 6
Utilization
Technical Audits per service
Conformity Process implementation per COU
Complete Business Overview
ISO / IEC 17065:2012
Additional Business Requirements
ISO / IEC 17025:2017
Accreditation Requirements
Regional Requirements
UL Safety ITA
Local Test Witness
Remote Test
Witness (SME)
Local Project Review
Remote Project
Review (SME)
Completed by Regional ICA Team
Organised and / or completed by AMS-R
Completed by Regional IQA Team with input from COU
One UL Integration
Maturity Level
TAT
H&S incidents
Single Source of Data per CAB / COU
Throughout the year
Technical
Interview (SME)
Competency Monitoring / PTP

## Slide 7
CAB Capabilities:
https://ul.sharepoint.com/sites/GRPEMEALAEMEALAQualityTeam/Lists/CAB%20Capabilities/AllItems.aspx
CAB Standards / Schemes:
https://ul.sharepoint.com/sites/GRPEMEALAEMEALAQualityTeam/Lists/CAB%20Activities/AllItems.aspx
Storage and accessibility

## Slide 8
Opportunities for Improvement
Identification of areas for improvement
During assessment, through the analysis of QMS documents, records, and staff interview, the followings areas for improvement were identified for consideration of test lab management: OFI – 01 The Commercial Testing per COU is listed, but Standards within have not been listed in ATLAS, this will become a requirement but at this time is categorized as an OFI. OFI – 02 There are no addition audits conducted outside of the Global Internal Audit process. There is a region process implemented to improve this process by continually review the activities of the lab and CB. This has not been implemented in the DEMKO location. OFI – 03 See Test witness Notes Verification records prior to the introduction of the test available - No reverification records were available prior to the tests being introduced. As verification has since been performed using PTP, it is recommended that records are held for all new tests introduced going forward to ensure this requirement is met and avoid any future findings from external audits.

## Slide 9
Non Conformances
Non-Conformity Reports
CAR 2022-60-GC-OBS 01 Non-Conformity Report – see UL Demko CBTL Project Review Originator: Grainne Cheevers Suggested owner: Claus Madsen Severity: Observation Standard No: ISO/IEC 17025:2017 / ISO/IEC 17065:2012 Clause No: 4.1.2.1 Requirement: The certification body shall have a legally enforceable agreement for the provision of certification activities to its clients. Certification agreements shall take into account the responsibilities of the certification body and its clients. Non-Conformance: No signed agreement for tests / certification undertaken Objective evidence: 4790277668 - CAR CLOSED – REFERENCE CAR RAISED - 223925218

## Slide 10
Non Conformances
Non-Conformity Reports
CAR 2022-60-GC-OBS 02 Non-Conformity Report see UL Demko CBTL Project Review Originator: Grainne Cheevers Suggested owner: Claus Madsen Severity: Observation Standard No: ISO/IEC 17065:2017 Clause No: 6.1.1.2 Requirement: The personnel shall be competent for the functions they perform, including making required technical judgments, defining policies and implementing them. Non-Conformance: Engineers conducting Data Acceptance at Customer Locations – do not possess the correct competency codes - no 100-Competency code as required for CTF 1 & CTF 2. Objective evidence: Marco Caroli (EAE Elektrik Aydinlatma Endustrisi Sanayi Ve Ticaret Anonim Sirketi) FIMI SRL Marcello Conegliano / Mario Zucchi Astec International Ltd - Philippine Branch - Steve Chiu Alvin Peng (Project Handler) – IEC 62219 – 2- Project Handler (Dec 2017) – Not 100-competent DACA / DACT

## Slide 11
Non Conformances
Non-Conformity Reports
CAR 2022-60-GC-OBS 03 Non-Conformity Report see UL Demko CBTL Project Review Originator: Grainne Cheevers Suggested owner: Severity: Observation Standard No: ISO/IEC 17025:2017 / ISO/IEC 17065:2012 Clause No: 7.1.1 Requirement: The laboratory shall have a procedure for the review of requests, tenders and contracts. The procedure shall ensure that: a) the requirements are adequately defined, documented and understood. Non-Conformance: Quotation, Test Report, Certificate - 4790034630 Objective evidence: Quote: CISPR 32, :2015+A1:2019, CISPR 32:2015, CISPR 35:2016, IEC 61000-3-2:2018 IEC 61000-3-3:2013+A1:2017 CISPR 32, :2015+A1:2019 – missing from test report title page but appears in certificate IEC6100-3-3:2013 missing from test report but appears in certificate

## Slide 12
Non Conformances
Non-Conformity Reports
CAR 2022-60-GC-OBS 04 Non-Conformity Report Originator: Grainne Cheevers Suggested owner: Severity: Observation Standard No: ISO/IEC 17025:2017 Clause No: 8.9.2 Requirement: Records of inputs • including information related to d) status of actions from previous reviews Non-Conformance: The status of action from previous reviews have not been addressed as they have appeared again in 2022 AMR. This was raised as an opportunity of improvement during the previous audit of the laboratory – but no improvement has been made. This will now been raised as an Observation. Objective evidence: 2022 AMR Minutes – Review of Year 2021

## Slide 13
Non Conformances
Non-Conformity Reports
See-2022-760—CAR-GC01 Non-Conformity Report Originator: Grainne Cheevers Suggested owner: Severity: Finding - recurring Standard No: ISO/IEC 17065:2012 Clause No: 6.1.1.3 Requirement: Personnel, including any committee members, personnel of external bodies, or personnel acting on the CB's behalf, shall keep confidential all information obtained or created during the performance of the certification activities, except as required by law or by the certification scheme. Non-Conformance: No record of agreeing to confidentiality of customer and UL information Objective evidence: Preben Munter – new committee member in 2022 meeting had not signed a Non- Disclosure Agreement

## Slide 14
Non Conformances

## Slide 15
Non Conformances
Non-Conformity Reports
2022-760-OBS--GC01 Non-Conformity Report Originator: Grainne Cheevers Suggested owner: Severity: Observation Standard No: ISO/IEC 17065:2012 Clause No: ULID-000366 – Issue 10.0, 4.1 Requirement: Discussing errors occurred in Requests returned from CO Review for rework Non-Conformance: Emails relating to errors occurred in Requests returned from CO Review for rework to determine next steps. These emails have not been sent to the group email but to the NCB manager directly. Risk of missed errors. Objective evidence: Email within NCB Managers Inbox

## Slide 16
Non Conformances
Non-Conformity Reports
2022- 760- OBS GC 02 Non-Conformity Report Originator: Grainne Cheevers Suggested owner: Severity: Observation Standard No: ISO/IEC 17065:2012 Clause No: Requirement: Non-Conformance: Emails relating to errors occurred in Requests returned from CO Review for rework to determine if additional training/mentoring/coaching is needed to maintain competency, Objective evidence: CTF records were checked: 1. AnTek Certification Inc. (DA 3180) (wrong last assessment date) Taiwan 2021-06-10 2. Fangguang Inspection &Testing Co., Ltd. (Huangpu Branch) missing NCR resolution sign off China 2021-06-11 – FINDING - raised as the NCR Resolutions for Fuangguang have not been documented as accepted and resolved.

## Slide 17: Risks and Raised Concerns
ISO 17025:2017 | Description of Finding | Expected outcome | Risk Level | CAR #
 | None |  |  | 

## Slide 18
,
Laboratory Process Improvement and Maturity
Time
Improvement
Standard
Continuous Improvement
Consolidation through Standardization
Improve
Plan
Check
Do
Standard
I
D
C
P
5-10 Year
Vision
Step 1
Annual
Review
3-5 Year
Plan
Annual Plan
Development of
Initiatives (plan)
Progress
Control
Implementation
Step 2
Step 3
Step 4
Step 5
Step 6
Step 6
Improve
Plan
Check
Do
Laboratory services
Processes
OBJECTIVE
P1
D1
I2
C1
I1
C2
D2
P2
In
Cn
Dn
Pn
Process Maturity
Y1
Y2
Y3
Y4
Lab
Technology
P
D
C
I
P
D
C
I
CSE
P
D
C
I
CSA
P
D
C
I

## Slide 19
UL INTERNATIONAL Demko A/S – Laboratory Management System Maturity Level
Chart: EMC-W Lab: 2018
Chart: EMC-W Lab: 2020
10
8
6
4
Basic QMS IMPLEMENTATION
Accreditation & Scheme COMPLIANCE
BEST KNOWN METHOD
(BKM)/WORLD CLASS
CUSTOMER SATISFACTION
IMPROVEMENT
0
The assessment result of performance of implemented Quality Management System for UL International Demko A/S shows some improvement in general processes
There are no high-risk areas that need urgent attention but/and some improvement is required for records overall
Chart: 
| General | Structural | Resources | Process | Management system
2021 | 6.2667 | 6.125 | 6 | 6.5625 | 7
2022 | 6.9333 | 6.125 | 6 | 6.5625 | 6.9048
Maturity of UL International Demko A/S Certification Body will be presented for overall CB audit 2022-69-IQA

## Slide 20
UL International Demko A/S Integration towards One UL - Laboratory
Chart: QMS Integration Status
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Global | 0.67647 | 0.67647 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Global and local Addition | 0.32353 | 0.32353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deviation from Global Process | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Not Applicable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Integration Status | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Integration status of UL International Demko A/S Certification Body will be presented for overall CB audit 2022-69-IQA

## Slide 21
Schemes | Associated Audit | Findings | Observations
IECEE CBTL (Lab and Processes) | 2022-60-IQA | 0 | 4
IECEE NCB (CB Scheme) | 2022-760-IQA | 2 | 2
UL International Demko A/S Notified Body (ATEX) | 2022-741-IQA | 0 | 0
IECEX (Processes) | 2022-881-IQA | 0 | 0
GS Mark Scheme Evaluation | 2022-110-IQA | 0 | 0
Project for Mandatory Energy Efficiency Labelling Scheme | 2022-69-IQA | N/A | N/A
NORDIC CERTIFICATION SERVICE NOTIFICATION Evaluation | 2022-114-IQA | 0 | 0
Project for ENEC LICENSE Evaluation | 2022-111-IQA | 0 | 0
Project for Measuring Instruments Directive Scheme Evaluation | 2022-741-IQA | 0 | 0
Project for D-MARK Evaluation | 2022-69-IQA | 0 | 0
Project for Gulf Type Examination Certification Scheme Evaluation | 2022-153-IQA |  | 
Project for SASO Conformity Assessment Program (SALEEM) Evaluation | 2022-69-IQA | N/A | N/A
Project for Bahrain Conformity Assessment Program Evaluation | 2022-69-IQA | 1 | 0
Project for OMAN Conformity Assessment Program Evaluation | 2022-69-IQA | 1 | 0
Project for US / CAN Safety Scheme Evaluation | 2022-69-IQA | 4 + 1 | 1
Project for UL Type Examination Certificate Evaluation | 2022-69-IQA | 1 | 0
Project for UL-EU Mark Safety Scheme Evaluation | 2022-69-IQA | 0 | 0

## Slide 22: Summary
Based on review of testing and evaluation methods, and interviews with the staff including test witnessing for CBTL, the assessment team concluded that the quality system of UL International Demko A/S meets the requirements of ISO / IECE 17025:2017 and 17065:2012 where applicable. Findings, observations and opportunities for improvement have been raised to further strengthen the system and ensure continued compliance.
Overall 3 Observation for CBTL, and 2 Findings & 2 Observations for NCB compliance issues were raised, there were none significant enough in nature to provide a high risk to the business.
Strengths
Technical knowledge
Engagement with process and willingness to integrate and improve
Weaknesses
Record keeping in general, competency records, application
Follow up of actions raised during AMR
Confidentiality – NDAs and certificates sent to wrong customer

## Slide 23
Next Steps
Plan 2023 Audit
  Dates: IECEE CBTL (Test Witness to be completed before 2023 IQA – AMS to support)
  Dates: IECEE NCB
  Expectation: Ongoing review of staff (Global) responsible for Certification activities under UL Demko NCB and CBTL over period November 2022-2023 - AMS to support).
Continue integration to One UL Enterprise policies