## Slide 1
Internal Compliance Audit Closing Meeting
UL International Germany GmbH
Stuttgart EMC-W Testing Laboratory
2023-144-IQA

## Slide 2: Agenda:
Audit Scope
Objectives and Focus Areas
Executive Summary
Non conformances and CARs Status
Opportunities for Improvement
Recommended Improvement Roadmap and Next Steps
Assessment Team:
Lead Auditor: Stéphanie Riss-Bourienne
Auditors: /

## Slide 3: Attendees
Opening Meeting Attendees – 04/12/2023
Berger, Sebastian
Acharkaoui, Rachid
Cheevers, Grainne
Riss-Bourienne, Stephanie
Closing Meeting Attendees – 05/12/2023
Berger, Sebastian
Acharkaoui, Rachid
Cheevers, Grainne
Friggi, Neil
Riss-Bourienne, Stephanie

## Slide 4: Audit Scope
The scope of the audit was reviewing the implementation of the UL Stuttgart EMC-W Testing Laboratory against ISO/IEC 17025:2017 testing laboratory activities under accreditation by DaKKS.
Desktop with remote session audit
Areas sampled and assessed against relevant requirements:
  Organization and Leadership; Competency management, Handling of samples, Reporting of results, Evaluation procedures, Records management, Complaints, Management System Documentation.

## Slide 5
Confirming activities and scope reflects on ATLAS records
Merging ICA and technical audit to cover CAB regional schedule of accreditation within accreditation cycle
Assessing implemented management system on all stages of project delivery including evaluation, testing and reporting.
Verifying conformance with Standards, Accreditation and Scheme as well as UL requirements.
Focus on expectations, issues and objectives identified by local, regional and global Leadership Team.
Provide feedback to Partners to reassure the capability, efficiency and consistency of implemented business processes.
New ICA Report - Europe
Additional ICA deliverables in Europe are:
    Maturity level,
    One UL Integration level
    Governance level
    Associated Potential Risk linked the findings,
    Voluntary Suspension of Operations
    Impartiality
    Share Knowledge and best practices for improvements.
Executive Summary
Strengths & OFIs
Findings and Associated Risks
Governance, Management System Maturity Level and One UL Integration Indicators
Audit Result
Annual Improvement Roadmap
Objectives and Focus Areas

## Slide 6
Utilization
Technical Audits per service
Conformity Process implementation per COU
Complete Business Overview
ISO / IEC 17065:2012
Additional Business Requirements
ISO / IEC 17025:2017
Accreditation Requirements
Regional Requirements
UL Safety ITA
Local Test Witness
Remote Test
Witness (SME)
Local Project Review
Remote Project
Review (SME)
Completed by Regional ICA Team
Organised and / or completed by AMS-R
Completed by Regional IQA Team with input from COU
One UL Integration
Maturity Level
TAT
H&S incidents
Single Source of Data per CAB / COU
Throughout the year
Technical
Interview (SME)
Competency Monitoring / PTP

## Slide 7: Executive Summary
Based on review of evidence of implementation of the QMS and interviews with the staff, the assessment team concluded that the quality system of UL International Germany GmbH (Stuttgart AMC-W testing lab) meets the requirements of ISO / IECE 17025:2017. Opportunities for improvement have been raised to further strengthen the system and ensure continued compliance.
Overall, no non-conformance for compliance issues was raised during this audit.
Strengths
Good management by the laboratory manager of the QMS process (reminders implemented since previous audit)
Good records keeping using Sharepoint tables
Small team with good communication
Weaknesses
A lot of extensions going on this year with challenges with resources (personnel and equipment). This needs to be followed up as the lab is granted accreditation and projects are increasing.

## Slide 8: Opportunities for Improvement
4 OFIs were raised during last year’s internal audit. 3 of which can be re-issued here as no progress has been noticed during this audit.
OFI 01 – Interlaboratory comparisons were planned in 2023 with Basingstoke laboratory, however, as this was noticed last year, none of them have taken place. Alternative means to verify validity of test results have been implemented though to cover the scope and in replacement. The laboratory should therefore update its planning for ensuring validity of test results with actual practice.
OFI 02 - All items required for the Management Review have been addressed however, the laboratory would benefit for improvement of his QMS to look for trends and conclude on effectiveness of each item of the Management Review to identify actions for improvement.
Also, a global conclusion regarding effectiveness and efficiency of QMS considering the items reviewed during the management review would be appropriate to confirm the lab is still performing and compliant according the standards requirements.
OFI 03 – The layout of the Sharepoint table used to record risks and opportunities could be improved by adding entries to record reviews for each risk. This request was passed on the global process owner however, no response was received from him.
OFI 04 – According to the European EMC-W laboratory Local Process Requirements document, supplier evaluation should be recorded using FORM-ULID-000607. The laboratory has put a Sharepoint table to monitor suppliers which include evaluation of them using the criteria defined in the form. This should be updated in SOP-ULID-008078 to reflect the practice.
OFI 05 – The process to update the flexible scope of the lab (when standard methods are revised) could benefit in defining an expected date for implementation of the new version of a method considering the gap analysis and actions needed to close these gaps.

## Slide 9: Non Conformances
None identified during this audit.
Status of CARs awaiting verification
CAR Number | CAR Source | Classification | Subject of the CAR | Notes
233925973 | Internal Audit CBTL Pre-Assessment | Finding | Equipment labeling and calibration | CAR closed on 31/08/2023 CAR verification planned on 30/11/2023 Skandan took on verification of this CAR to complete his training. Verification partially done during the audit looking through METTEAM records. Evidence will be provided to Skandan.
233926395 | DAkkS | Noncompliance | Decision rule statement | CAR closed on 29/09/2023 CAR verification planned on 08/12/2023 CAR is being verified by Grainne, waiting for a project to be completed to finalize the verification. Consequently, this CAR was not verified during the audit.
223924540 | Non-Audit Issue | Finding | Communication of decision rule to customer before starting testing activities | CAR closed on 16/11/2023 CAR verification planned on 15/02/2024 This CAR has not been verified as the time since it was closed out was too close to the audit date.

## Slide 10
,
Laboratory Process Improvement and Maturity
Time
Improvement
Standard
Continuous Improvement
Consolidation through Standardization
Improve
Plan
Check
Do
Standard
I
D
C
P
5-10 Year
Vision
Step 1
Annual
Review
3-5 Year
Plan
Annual Plan
Development of
Initiatives (plan)
Progress
Control
Implementation
Step 2
Step 3
Step 4
Step 5
Step 6
Step 6
Improve
Plan
Check
Do
Laboratory services
Processes
OBJECTIVE
P1
D1
I2
C1
I1
C2
D2
P2
In
Cn
Dn
Pn
Process Maturity
Y1
Y2
Y3
Y4
Lab
Technology
P
D
C
I
P
D
C
I
CSE
P
D
C
I
CSA
P
D
C
I

## Slide 11
Next Steps
Plan 2024 Audit
  Dates: According to 2024 audit plan