## Slide 1
Top 5 Issues | Total | TPTDP | CTDP | WTDP | CB | PPP | DAP Assessments - Datasheet Reviews (not WTDP) | Overall DAP System | % of Total
Datasheet Related Issues (17025 5.10) | 84 | 3 | 7 | 26 |  | 1 | 47 |  | 44.21%
DAP Scope / DAP MTL Incorrect | 21 | 1 | 9 | 6 |  | 1 | 3 | 1 | 11.05%
Signatory Issue (Datasheet) | 13 |  | 6 |  |  |  | 6 | 1 | 6.84%
Calibration Certs Missing or Inaccurate (DMS) | 12 | 1 |  | 11 |  |  |  |  | 6.32%
Standard Edition Mismatch in Project Records | 6 |  | 5 | 1 |  |  |  |  | 3.16%
“Datasheet Related” includes errors related to Test Dates, Equipment identification/range, Calibration information, WTDP section not entered when applicable, and all data reporting and recording issues (such as units of measure, thermal equilibrium, corrected test data, staff witnessing test, test staff, etc).
“Datasheet Related” does not include errors related to the following issues that may be found in a datasheet: Standard and Edition Mismatch (with Scope, Test Record), Standards Missing or Mismatch, Model Number Discrepancy (with Scope, Test Record, LIS, Description).
The issues above represent 68.42 % of all DAP issues identified from the sources below:
IQA Audits of DAP Projects at OSHA SNAP Locations: 84 Projects Reviewed, 13 CARs, 21 SRs (System: IQA DB)
IQA Audits of Engineering at NRTL / non-SNAP Locations: 36 CARs (IQA DB)
Internal Technical Audits: 172 Projects reviewed involving DAP, 17 non-conformances (Internal Technical Audits Report Spreadsheets)
ANSI Audits: 18 CARs written in 2015-2016 (CAR DB)
Datasheet Reviews as part of DAP Annual Assessments: 60 CARs written (4 findings, 56 observations – some CARs reference more than one datasheet). Based on available data, we estimate that over 2500 datasheets are reviewed each year. (“DAP Internal Only” CAR Source) (CAR DB)
Total Number of Issues: 190
Dataset: Jan 1 2015 – May 13 2016
2015-2016: Top 5 DAP Issues Written Internally
Note – This chart represents all DAP related issues where a CAR or Service Request is assigned to UL Staff. (Internal issues)

## Slide 2
CTDP 17025 Clause | NCR Count | Pct of Total NCRs
5.10.1 / 5.10.2 (Reporting the results) | 75 | 36.11%
5.5.2 (equipment calibration) | 69 | 
4.6.2 (critical consumables) | 50 | 
5.2.5 (competency) | 41 | 
4.3.2.2 (document control) | 42 | 
Top 5 CTDP Issues by 17025 Clause
TPTDP 17025 Clause | NCR Count | Pct of Total NCRs
4.3.2.2 / 4.3.2.1 (document control) | 12 | 46.00%
5.5.2 (equipment calibration) | 9 | 
4.6.2 (critical consumables) | 8 | 
5.10.1 / 5.10.2 (Reporting the results) | 5 | 
4.13.2.3 (Alterations to technical records) | 4 | 
5.6.2.1.1 (Calibration) | 4 | 
5.5.7 (Equipment overloading or mishandling) | 4 | 
Top 5 TPTDP Issues by 17025 Clause
2015-2016: DAP NCRs Written to DAP Participants as a result of DAP Assessments
DAP Program | NCR Count | Number of Participants who received an NCR | NCRs per Participant who received an NCR
CTDP | 767 | 277 | 2.77
TPTDP | 100 | 29 | 3.45
CTDP / TCP | 14 | 3 | 4.67
CTDP / TPTDP | 8 | 2 | 4.00
TPTDP / PPP | 2 | 1 | 2.00
Total | 891 | 312 | 2.86
NCRs written in 2015-2016
The data on these slides is being manually collected on an ongoing basis in order to determine if any trends exist, and how best to address them both internally and externally.
Another session will be arranged to collect feedback.
Dataset: Jan 1 2015 – May 13 2016
System: NCR Audit Data from DAP Assessments – collected manually by Nancy Batey, modified by Chris Nicastro
DAP Participants: Approximately 865