## Slide 1
DAP Project/Record Sample Used for this Audit
DAP projects/records are reviewed during the following audit activities. CARs/SRs listed below are for January 1 2015 to March 4 2016.
Corporate IQA -
OSHA SNAP Audits – For each SNAP Site, one project for every DAP program (WTDP, CTDP, TPTDP, TCP, PPP, CB Scheme) is reviewed every six months.
(34 Issues written (11 CARs, 18 SRs), 80 projects reviewed)
IQA - Audits of Engineering – For SNAP Sites, see above. For NRTL, the project sample reviewed as part of the audit includes a sample of DAP projects. (57 CARs)
ANSI Audits – 16 CARs
Internal Technical Audits – Technical Assessments of 172 projects involving DAP (since Jan 2015). 15 projects were found to have non-conformances. (8.7%)
DAP Annual Assessments – Approximately 865 Annual assessments since Jan 2015. 3 datasheets are reviewed per assessment. (50 CARs written as “DAP Internal Only” CARs) – 50 CARs (4 Findings, 46 Observations)
DAP/MTL Flag Missing in ePro – Note that sample size may not be fully accurate due to ePro projects where the DAP/MTL flag was not checked either as an oversight or due to past/known system issues.

## Slide 2
OSHA SNAP Audit Results Overview 2015 DAP 1 (Jan-June) and 2 (July December) – Completed
2016 DAP 1 - In Process
DAP 1 / DAP 2 Audit Number |  |  | Projects Reviewed | Issues | CARs | SRs
2015-46 |  |  | 28 | 14 | 5 | 6
 | TPTDP |  | 5 | 5 | 2 | 2
 | CTDP |  | 7 | 4 | 2 | 2
 | WTDP |  | 10 | 3 | 1 | 1
 | CB Scheme |  | 3 | 0 | 0 | 0
 | PPP |  | 3 | 2 | 0 | 1
2015-129 |  |  | 31 | 13 | 5 | 6
 | TPTDP |  | 4 | 2 | 0 | 2
 | CTDP |  | 12 | 3 | 2 | 1
 | WTDP |  | 12 | 8 | 3 | 3
 | CB Scheme |  | 3 | 0 | 0 | 0
 | PPP |  | 0 | 0 | 0 | 0
2016-36 |  |  | 21 | 7 | 1 | 6
 | TPTDP |  | 3 | 1 | 0 | 1
 | CTDP |  | 5 | 2 | 0 | 2
 | WTDP |  | 11 | 4 | 1 | 3
 | CB Scheme |  | 1 | 0 | 0 | 0
 | PPP |  | 1 | 0 | 0 | 0
Total |  |  | 80 | 34 | 11 | 18

## Slide 3
OSHA SNAP Audit Results – Issues by Type, DAP Program
 | Total | TPTDP | CTDP | WTDP | CB | PPP
Datasheet Related (equipment ID/Range, Cal dates, data reporting and recording) | 8 | 1 | 2 | 5 |  | 
Cal Certs Missing or Inaccurate (DMS) | 5 | 1 |  | 4 |  | 
Test Record | 4 | 1 | 1 | 1 |  | 1
Scope Letter Missing or Incorrect | 4 |  | 3 | 1 |  | 
LIS Updates | 3 | 2 |  |  |  | 1
DAP Scope | 2 |  | 2 |  |  | 
Standard and Edition Mismatch | 2 |  | 1 | 1 |  | 
Standard Mismatch | 2 | 2 |  |  |  | 
Test Report | 1 | 1 |  |  |  | 
No Agreement | 1 |  |  | 1 |  | 
Handler/Reviewer Same Person | 1 |  |  | 1 |  | 
Minor Typo (fixed via SR - investigating) | 1 |  |  | 1 |  | 
Total | 34 | 8 | 9 | 15 | 0 | 2
Industry | Issues
Lighting | 17
ITE | 5
Fire | 3
ICE | 2
PD | 2
Appliances | 1
Consumer Electronics | 1
HVAC | 1

## Slide 4
“DAP Internal Only” CARs Datasheets reviewed during Annual DAP Assessments
Approximately 2600 DS reviewed since Jan 2015
Business Unit | Count
C&I | 37
Consumer | 10
Ventures | 2
CPO (IECEE CB Scheme) | 1
Classification | Count
Finding | 4
Observation | 46
Industry | Count
Appliances, HVAC, and Lighting | 16
CTECH | 12
Energy and Power Technologies | 13
Performance Materials | 5
Wire and Cable | 3
Health Sciences | 2
Process Issue / Multiple Divisions | 1
Building and Life Safety Technologies | 1
Region | Count
North America (AHL - 14, EPT - 8) | 31
US Central | 16
US East | 8
US West (Consumer/CTECH - 2) | 7
Asia | 11
Taiwan (Consumer/CTECH - All) | 9
India | 1
Hong Kong | 1
Europe | 7
Central Europe | 3
Southern Europe | 2
Northern Europe | 1
Mexico | 1
Corporate / CPO | 1
- 49 of 50 CARs included Data Acceptance and Data Reporting and Recording related issues.
Other prevalent issues include: - Signatory Missing/Incorrect - Rationale for deviation from Test Method missing - Equipment not included - DAP Scope

## Slide 5
ANSI Audits
Classification | Count
Finding | 10
Observation | 6
DAP Program / Issue | Count | Areas | Issues
CTDP | 7 | AHL 4, EPT 1, PM 1, W&C 1 | Datasheet, Test Record, Signatory, DAP Scope, Data Reporting and Recording, Standard/Edition Mismatch
WTDP | 5 | Fire 2, AHL 1, EPT 1, Lighting 1 | Equipment issues in DS, no DS in eComm for "Closed with Letter" project, Model Number Discrepancy
Audit Fulfillment | 3 | Global 1, AHL 2 | Audit Report (Date not entered), inadequate follow up on past NCR (CTDP)
DAP Policy | 1 | Policy Owner | Clarify "reassessment everyone 12 months" vs annually

## Slide 6
Internal Technical Audits – 15 Non-conformances in 172 projects
Industry | Count
Appliance / HVAC | 3
AHL (Lighting) | 3
CTECH | 3
Consumer (Small Appliances) | 2
E&PT (PD) | 2
Fire (Suppression) | 1
Security & Signaling | 1
DAP Program | Count
WTDP | 12
TPTDP | 2
CTDP | 1
Issue | Count
Cal Certs Missing / Incorrect | 7
DAP MTL Issues - Not Updated, Incorrect, no DAP MTL Association | 7
Datasheet - Equipment Issues | 1
Datasheet - wrong DAP Program listed | 1
project not flagged as DAP in ePro | 1

## Slide 7
Non-Conformances
1: Observation (Owner TBD)
DTO AVD Dates do not match Oracle eBusiness, Service Contract AVD Dates
2: Finding (Owner TBD) CTF Participant requested to be inactivated, OD-2019 was not updated. No correspondence from CEC to NCB Manager of inactivation. No process for notifying the NCB Manager.
3: Observation (Dan Arnold)
Legacy TPTDP/CAP Participants have an L-38 agreement (which does not cover TPTDP), but not a TPTDP by Invitation agreement.
4: Observation (Jola Wroblewska) – not written as a CAR, see audit report attachments
Scope of Siemens Healthcare GMBH (DA 217, 405, 406, 552, 701, 897) in DAP/MTL and most recent Assessment Report does not match OD-2019 – 60601-2-29 and 2-37 are missing from OD-2019.
5: Observation (Jim Feth)
Operational documents 00-OP-S0854, 00-OP-S0084 (description of DAP programs – DAP policy is in this SOP), 00-OP-C0025, 32, 34, 35, 36, 37, 38, 45, 401 are owned by the Policy Manager (CPO), and not by organizationally accurate staff. Approvers do not represent all business units who operate the US/Canada Safety Scheme and DAP Program.

## Slide 8
Opportunities for Improvement
CPO / Jim Feth / UL LLC Certification Body Top Management / Top Management Team
1 - Suggest a “mechanism” for communication between the Policy Owner/CPO and Operations for the DAP Policy requirements. Those involved in this mechanism should have the authority to enact changes, improvements.
See CAR 2016-15-05 related to document ownership of 00-OP-S and 00-OP-C documents. Currently no mechanism exists for the Operations function and Policy Owner/CPO function to interact and ensure that DAP Policy is communicated to DAP participants, operations staff, as well as a mechanism to ensure DAP related policy/procedure questions are answered/interpreted by appropriate staff.
2 – Suggest the development and use of metrics/data to identify and address potential systemic issues (Key Process Indicators, Process Performance Indicators), where the policy owner and certification body can discuss improvements, issues, and necessary corrective and preventive actions to effectively manage and oversee the DAP Program and certification body operations.
3 – Suggestion to ensure document references and responsibilities are accurate in 00-IC-P0026, 00-OP-S0854, 00-OP-S0084, other 00-OP-S documents, and all 00-OP-C documents. (list of suggestions provided to Jim Feth as current Document Owner)
00-IC-S0862
4 - Suggestion to ensure document references and approvers are accurate (Jola Wroblewska)

## Slide 9
Opportunities for Improvement
00-IC-S0860
5 - Suggestion to ensure document references and approvers are accurate (Gunsimar Paintal)
00-GC-P0857
6 - Suggestion to updated references to TMP, SMT, WMT to CTF Stage 1-2-3-4 (Rod Morton)
00-OP-S0056
7 – Description of Review/Final Review in SOP (get details from John’s Pathnotes for report)
Note – OFI 4, 5, and 6 will be communicated to the document owner after the closing meeting.