## Slide 1: Team A Ken Berger, Jim Kurtz, Mark Lavine, Michael Schneider
Q4 CAR Champion Calibration
2015

## Slide 2: CAR# 153914933– Finding
Non-conformance not clear, z score is acceptable per IEC 17043

## Slide 3: CAR# 153914933– Finding, RCA
Second standard is being referenced, not sure why?
Changing the methodology to “fix” the results may have contributed
Weak root cause

## Slide 4: CAR# 153914933– Finding, Milestone evidence
Test is in Chinese – English is required.
all participants scored 100%

## Slide 5: CAR# 153914933– Finding
Still waiting on verification.

## Slide 6: CAR# 153914933– Finding
CBS Requirements | Excellent | Moderate | Need Improve | N/A
INTEGRITY |  |  |  | 
(C) Extensions are within requirement (<30 days, 3 or less) | x |  |  | 
(T) Most appropriate ‘category’, ‘type’, ‘geography’ are selected | x |  |  | 
(P) Facilitates the handling of disputed CARs |  |  |  | x
(T) Acts on CARs within required timeframe |  | x |  | 
COMPETITIVENESS |  |  |  | 
(C) Analysis shows clear path to root cause and scope; stakeholders identified |  |  | x | 
(C) Root cause statement is succinct, reasonable, complete (Shows ‘N/A’ for observations) |  |  | x | 
(C) Corrective actions fix the objective evidence and other problems found; address entire root cause and scope. For observations, they do not go beyond fixing the objective evidence |  | x |  | 
(C) Milestones address containment & owner’s verification; completed per milestone expectations | x |  |  | 
(P) Verification per requirements |  |  | x | 
COLLABORATION |  |  |  | 
(L Referenced communications are attached as needed | x |  |  | 
(C L) Evidence of communication for overdue/escalated CARs and other pertinent concerns |  |  |  | x
(P) Trains other CAR Champions |  |  |  | x

## Slide 7: THANK YOU

## Slide 8: Team B: Jeffery Lietz, Bruce Eng, Tovia Bat-Leah, Dale Hendricks; CARs 153914933, 153915322, 153915273 + one “exemplary”.

## Slide 9: CAR 153914933

## Slide 10: CAR 153914933

## Slide 11: CAR 153914933

## Slide 12: CAR 153914933
CBS Requirements | Excellent | Moderate | Need Improve | N/A
INTEGRITY |  |  |  | 
(C) Extensions are within requirement (<30 days, 3 or less) | x |  |  | 
(T) Most appropriate ‘category’, ‘type’, ‘geography’ are selected |  |  | x | 
(P) Facilitates the handling of disputed CARs |  |  |  | x
(T) Acts on CARs within required timeframe |  | x |  | 
COMPETITIVENESS |  |  |  | 
(C) Analysis shows clear path to root cause and scope; stakeholders identified |  |  | x | 
(C) Root cause statement is succinct, reasonable, complete (Shows ‘N/A’ for observations) |  |  | x | 
(C) Corrective actions fix the objective evidence and other problems found; address entire root cause and scope. For observations, they do not go beyond fixing the objective evidence |  | x |  | 
(C) Milestones address containment & owner’s verification; completed per milestone expectations | x |  |  | 
(P) Verification per requirements |  |  |  | x
COLLABORATION |  |  |  | 
(L Referenced communications are attached as needed |  | x |  | 
(C L) Evidence of communication for overdue/escalated CARs and other pertinent concerns |  |  |  | x
(P) Trains other CAR Champions |  |  |  | x